## Slide 1: Install via .mlapp

## Slide 2: Step 1: Install app
Just double click the .mlappinstall file with MATLAB open

## Slide 3: Step 2: Open app on MATLAB
Once installed click on the “Apps” tab of MATLAB
Find the “HKUDDR CaOvary Preprocessing” app under “My Apps”

## Slide 4: Install via standalone .exe

## Slide 5: Step 1: Install via MATLAB web installer
Follow wizard instructions

## Slide 6: Step 2: Run the Standalone .exe
Simply double click the .exe to run once

## Slide 7: Using the app

## Slide 8: Step 1: Select folders
A: Choose the appropriate input folder
  Can also copy and paste the exact address to the text field
B: App automatically fills in the target output folder. This can be changed to a different folder if desired
A
B

## Slide 9: Step 2 (Optional): Enable Parallel Processing
If the PC in use is has more than 1 logical core, parallel processing can be enabled to reduce processing time
A: Select the number of cores to assign to this app
B: Press the “Enable Parallel Processing”Button.
C: Wait until the lamp turns green
A
B
C

## Slide 10: Step 3 (Optional): Change output filename
By default, the filename will be the name of the parent directory + “_resampled”
If desired, the filename can be changed

## Slide 11: Step 4: Load the folder
A: Click the “Load” button to load all the DICOMs so it will show all the series
B: Progress bar shows progress of loading process
C: Once finished loading, the table will fill with the series details detected
A
B
C

## Slide 12: Step 5 (Optional): Select DICOM save type
DICOM is usually stored as multiple files (one file corresponds to one slice); however, it is possible to save as a single “compressed” file (all slices in a single file)
Some apps (e.g. ImageJ) does not recognise single compressed DICOMs
(A->B) By default the app will save as the single compressed file
(A->C) If desired, click on the toggle button to save in the “standard” multiple file format
A
B
C

## Slide 13: Step 6: Choose the correct series
A: Use the drop down menu and select the appropriate series
B: Or click directly on the series table
C: Click “Process” button
D: Progress bar
E: Wait for “Finished” message
A
D
B
C
E

## Slide 14: Step 7: Find the series
A: If “Single” DICOM save format was chosen, the resulting file should appear as shown
B: If “Multiple” DICOM save format was chosen, a folder named “Resampled” will be created which contains the multiple DICOMs
A
B